R6-28	RECORDS OF METERS AND ASSOCIATED METERING DEVICES

Each utility shall maintain records of the following data, where applicable, for each meter and/or associated metering device until retirement:

(1)	The complete identification - manufacturer, number, type, capacity, multiplier, constants, and pressure rating.

(2)	The dates of installation and removal from service, together with the location.