R7-09	DEAD ENDS

Dead ends in the distribution mains should be avoided so far as possible. If such dead ends exist the utility should provide facilities for flushing if conditions so require.