R7-32	PERIODIC TEST

Meters of a compound, fireline, or turbine type containing a current meter unit in a system supplying clear spring or well water shall be periodically tested as follows. Under average conditions the following intervals between tests shall not be exceeded.

Meter Sizes		Years Between Tests

1 1/2 				4

2				4

3				3

4				2

6				1