R8-18	VOLTAGE SURVEYS AND RECORDS

Each utility shall provide itself with suitable indicating or recording voltmeters, and shall make a sufficient number of voltage tests periodically so as to insure compliance with the voltage requirements cited above. These tests shall be made at appropriate points upon the utility's distribution lines.