09 NCAC 06C .0212	DISPATCHING SYSTEMS

(a)  A 911 call dispatching system shall be designed, installed, operated, and maintained to provide for the receipt and retransmission of calls.

(b)  Telecommunicators who receive 911 calls shall have redundant means within the PSAP premises to dispatch calls.

(c)  The failure of any system component or one dispatching means shall not affect the operation of another dispatching means.

History Note:	Authority G.S. 62A-42;

Eff. July 1, 2016.