10A NCAC 06R .0702	FIRE AND SAFETY REQUIREMENTS

Adult Day Care Homes shall:

(1)	have fire extinguishers of the type recommended by the fire inspector and governed by the North Carolina Fire Prevention Code, centrally located in the kitchen;

(2)	provide automatic station products of combustion type smoke detectors as required by the North Carolina Fire Prevention Code;

(3)	provide listed heat detectors in the attic and basement from the approved list in the North Carolina Fire Prevention Code; and

(4)	provide a fire safety and evacuation plan to be prepared according to requirements of the North Carolina Fire Prevention Code.

History Note:	Authority G.S. 131D-6; 143B-153;

Eff. July 1, 1978;

Amended Eff. July 1, 2007;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. September 6, 2016.