10A NCAC 13B .4804	MONITORING RADIATION EXPOSURE OF PERSONNEL

(a)  The facility shall establish procedures for the monitoring of personnel and shall maintain a record for each individual working in the area of radiation where there is a reasonable probability of receiving one-fourth of the maximum permissible dose.

(b)  Records documenting the monitoring of personnel receiving radiation exposure through the use of film badges or dosimeters must also be maintained by the facility. Readings from badges or dosimeters shall be recorded on at least a monthly basis.

(c)  Upon termination of employment, each employee shall be provided with a summary of his exposure record.

(d)  Permanent records of radiological exposure on all monitored personnel shall be maintained for review by the Division.

History Note:	Authority G.S. 131E-79;

Eff. January 1, 1996;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 22, 2017.