SECTION .6100 – GENERAL REQUIREMENTS

10A NCAC 13B .6101	LIST OF REFERENCED CODES, RULES, REGULATIONS, AND STANDARDS

For the purposes of the rules in this Subchapter, the following codes, rules, regulations, and standards are incorporated herein by reference including subsequent amendments and editions. Copies of these codes, rules, regulations, and standards may be obtained or accessed from the online addresses listed:

(1)	the North Carolina State Building Codes with copies that may be purchased from the International Code Council online at http://shop.iccsafe.org/ at a cost of five hundred seventy-one dollars ($571.00) or accessed electronically free of charge at http://codes.iccsafe.org/North%20Carolina.html;

(2)	42 CFR Part 482.41, Condition of Participation: Physical Plant, that is incorporated herein by reference including all subsequent amendments and editions; however, Part 482.41(c)(1) shall not be incorporated by reference. Copies of this regulation may be accessed free of charge at https://www.gpo.gov/fdsys/pkg/CFR-2017-title42-vol5/xml/CFR-2017-title42-vol5-sec482-41.xml or purchased online at https://bookstore.gpo.gov/products/cfr-title-42-pt-482-end-code-federal-regulationspaper-201-7 for a cost of seventy-seven dollars ($77.00);

(3)	the following National Fire Protection Association standards, codes, and guidelines with copies of these standards, codes, and guidelines that may be accessed electronically free of charge at https://www.nfpa.org/Codes-and-Standards/All-Codes-and-Standards/List-of-Codes-and-Standards or may be purchased online at https://catalog.nfpa.org/Codes-and-Standards-C3322.aspx for the costs listed:

(a)	NFPA 22, Standard for Water Tanks for Private Fire Protection for a cost of fifty-four dollars ($54.00);

(b)	NFPA 53, Recommended Practice on Materials, Equipment, and Systems Used in Oxygen-Enriched Atmospheres for a cost of fifty-three dollars ($53.00);

(c)	NFPA 59A, Standard for the Production, Storage, and Handling of Liquefied Natural Gas for a cost of fifty-four dollars ($54.00);

(d)	NFPA 255, Standard Method of Test of Surface Burning Characteristics of Building Materials for a cost of forty-two dollars ($42.00);

(e)	NFPA 407, Standard for Aircraft Fuel Servicing for a cost of forty-nine dollars ($49.00);

(f)	NFPA 705, Recommended Practice for a Field Flame Test for Textiles and Films for a cost of forty-two dollars ($42.00);

(g)	NFPA 780, Standard for the Installation of Lightning Protection Systems for a cost of sixty-three dollars and fifty cents ($63.50);

(h)	NFPA 801, Standard for Fire Protection for Facilities Handling Radioactive Materials for a cost of forty-nine dollars ($49.00); and

(i)	Fire Protection Guide to Hazardous Materials for a cost of one hundred and thirty-five dollars and twenty-five cents ($135.25);

(4)	42 CFR Part 482.15 Condition of participation: Emergency preparedness with copies of this regulation that may be accessed free of charge at https://www.gpo.gov/fdsys/pkg/CFR-2017-title42-vol5/xml/CFR-2017-title42-vol5-sec482-15.xml or purchased online at https://bookstore.gpo.gov/products/cfr-title-42-pt-482-end-code-federal-regulationspaper-201-7 for a cost of seventy-seven dollars ($77.00);

(5)	the "Rules Governing the Sanitation of Hospitals, Nursing Homes, Adult Care Homes, and Other Institutions" 15A NCAC 18A .1300 with copies of these rules that may be accessed electronically free of charge at http://reports.oah.state.nc.us/ncac/title%2015a%20-%20environmental%20quality/chapter%2018%20-%20environmental%20health/subchapter%20a/15a%20ncac%2018a%20.1301.pdf; and

(6)	the rules for ambulatory surgical facilities in 10A NCAC 13C, Licensing of Ambulatory Surgical Facilities with copies of these rules that may be accessed electronically free of charge at http://reports.oah.state.nc.us/ncac/title%2010a%20-%20health%20and%20human%20services/chapter%2013%20-%20nc%20medical%20care%20commission/subchapter%20c/subchapter%20c%20rules.pdf.

History Note:	Authority G.S. 131E-79;

Eff. January 1, 1996;

Readopted Eff. April 1, 2019.