10A ncac 13C .1202	PREVENTIVE MAINTENANCE

A schedule of preventive maintenance shall be developed for all of the medical and surgical equipment in the facility to assure satisfactory operation when needed.

History Note:	Authority G.S. 131E-149;

Eff. October 14, 1978;

Amended Eff. April 1, 2003;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. December 23, 2017.