10A NCAC 13C .1402	LIST OF REFERENCED GUIDELINES, CODES, STANDARDS, AND REGULATION

(a)  The FGI Guidelines are incorporated herein by reference, including all subsequent amendments and editions; however, the following chapters of the FGI Guidelines shall not be incorporated herein by reference:

(1)	Chapter 2.3;

(2)	Chapter 2.4;

(3)	Chapter 2.5;

(4)	Chapter 2.6;

(5)	Chapter 2.8;

(6)	Chapter 2.10;

(7)	Chapter 2.11;

(8)	Chapter 2.12;

(9)	Chapter 2.13; and

(10)	Chapter 2.14.

Copies of the FGI Guidelines may be purchased from the Facility Guidelines Institute online at https://www.fgiguidelines.org/guidelines-main/purchase/ at a cost of two hundred dollars ($200.00) or accessed electronically free of charge at https://www.fgiguidelines.org/guidelines-main/.

(b)  For the purposes of the rules of this Section, the following codes, standards, and regulation are incorporated herein by reference including subsequent amendments and editions. Copies of these codes, standards, and regulation may be obtained or accessed from the online addresses listed:

(1)	the North Carolina State Building Codes with copies that may be purchased from the International Code Council online at https://shop.iccsafe.org/ at a cost of six hundred sixty-six dollars ($666.00) or accessed electronically free of charge at https://shop.iccsafe.org/state-and-local-codes/north-carolina.html;

(2)	the following National Fire Protection Association standards, codes, and guidelines with copies of these standards, codes, and guidelines that may be accessed electronically free of charge at https://www.nfpa.org/Codes-and-Standards/All-Codes-and-Standards/List-of-Codes-and-Standards or may be purchased online at https://catalog.nfpa.org/Codes-and-Standards-C3322.aspx for the costs listed:

(A)	NFPA 22, Standard for Water Tanks for Private Fire Protection for a cost of fifty-four dollars ($54.00);

(B)	NFPA 53, Recommended Practice on Materials, Equipment, and Systems Used in Oxygen-Enriched Atmospheres for a cost of fifty-three dollars ($53.00);

(C)	NFPA 59A, Standard for the Production, Storage, and Handling of Liquefied Natural Gas for a cost of fifty-four dollars ($54.00);

(D)	NFPA 99, Health Care Facilities Code for a cost of seventy-seven dollars ($77.00);

(E)	NFPA 101, Life Safety Code for a cost of one hundred and five dollars and fifty cents ($105.50);

(F)	NFPA 255, Standard Method of Test of Surface Burning Characteristics of Building Materials for a cost of forty-two dollars ($42.00);

(G)	NFPA 407, Standard for Aircraft Fuel Servicing for a cost of forty-nine dollars ($49.00);

(H)	NFPA 705, Recommended Practice for a Field Flame Test for Textiles and Films for a cost of forty-two dollars ($42.00);

(I)	NFPA 780, Standard for the Installation of Lightning Protection Systems for a cost of sixty-three dollars and fifty cents ($63.50);

(J)	NFPA 801, Standard for Fire Protection for Facilities Handling Radioactive Materials for a cost of forty-nine dollars ($49.00); and

(K)	Fire Protection Guide to Hazardous Materials for a cost of one hundred and thirty-five dollars and twenty-five cents ($135.25).

(3)	42 CFR Part 416.54 Condition of participation: Emergency preparedness with copies of this regulation that may be accessed free of charge at https://www.gpo.gov/fdsys/pkg/CFR-2017-title42-vol5/xml/CFR-2017-title42-vol5-sec482-15.xml or purchased online at https://bookstore.gpo.gov/products/cfr-title-42-pt-482-end-code-federal-regulationspaper-201-7 for a cost of seventy-seven dollars ($77.00).

History Note:	Authority G.S. 131E-149;

Eff. October 14, 1978;

Amended Eff. December 24, 1979;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. December 23, 2017;

Amended Eff. January 1, 2020.