10A NCAC 13D .3103	SITE

The site of a proposed facility must be approved by the Department prior to construction as:

(1)	accessible by public roads;

(2)	accessible to fire fighting services;

(3)	having a water supply, sewage disposal system, garbage disposal system, and trash disposal system approved by the local health department having jurisdiction;

(4)	meeting all local ordinances and zoning laws; and

(5)	being free from exposure to hazards and pollutants.

History Note:	Authority G.S. 131E-102; 131E-104;

Eff. January 1, 1996;

Amended Eff. July 1, 2014;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. March 22, 2015.