10A NCAC 13E .0314	FLOORS

(a)  All floors shall be of smooth, non-skid material and shall be cleanable.

(b)  Scatter or throw rugs shall not be used.

(c)  All floors shall be kept free of damage.

History Note:	Authority G.S. 131D-6.1;

Eff. April 1, 2017.