10A NCAC 13E .0318	OUTSIDE PREMISES

(a)  The outside grounds of the program shall be maintained in a clean and safe condition.

(b)  If the facility has a fence around the premises, the fence shall not prevent participants from exiting or entering freely and shall not be hazardous.

(c)  Outdoor stairways and ramps shall be illuminated by no less than five foot candles of light at grade level.

History Note:	Authority G.S. 131D-6.1;

Eff. April 1, 2017.