10A NCAC 13S .0104	PLANS and specifications

(a)  Prior to issuance of a license pursuant to 10A NCAC 14E .0107, an applicant for a new clinic shall submit one copy of construction documents and specifications to the Division for review and approval consistent with Section .0200 of this Subchapter.

(b)  Any license holder or prospective applicant desiring to make alterations or additions to a clinic or to construct a new clinic, before commencing such alteration, addition or new construction shall submit construction documents and specifications to the Division for review and approval with respect to compliance with this Subchapter.

(c)  Approval of construction documents and specifications shall expire one year after the date of approval unless a building permit for the construction has been obtained prior to the expiration date of the approval of construction documents and specifications.

History Note:	Authority G.S. 131E-153.5; 143B-165;

Codifier determined that findings of need did not meet criteria for emergency rule on October 30, 2023;

Emergency Rule Eff. November 14, 2023;

Temporary Adoption Eff. February 8, 2024;

Eff. October 1, 2024.