10A NCAC 15 .0519	SUBJECTS TO BE COVERED DURING INSTRUCTION OF RADIOGRAPHERS

The following subjects shall be covered in the instructions of radiographers:

(1)	fundamentals of radiation safety:

(a)	characteristics of gamma and x-radiation;

(b)	units of radiation dose (mrem, sievert) and quantity of radioactivity (curie, becquerel);

(c)	hazards of exposure of radiation;

(d)	levels of radiation from sources of radiation;

(e)	methods of controlling radiation dose:

(i)	working time,

(ii)	working distances,

(iii)	shielding,

(2)	radiation detection instrumentation to be used:

(a)	use of radiation survey instruments:

(i)	operation,

(ii)	calibration,

(iii)	limitations,

(b)	survey techniques;

(c)	use of personnel monitoring equipment;

(i)	film badges,

(ii)	pocket dosimeters,

(iii)	pocket chambers,

(3)	radiographic equipment to be used:

(a)	remote handling equipment;

(b)	radiographic exposure devices, radiation machines and sealed sources;

(c)	storage containers;

(d)	operation and control of radiography equipment;

(e)	storage, control and disposal of sealed sources;

(4)	the requirements of pertinent federal and state regulations;

(5)	the licensee's or registrant's written operating and emergency procedures;

(6)	inspection and maintenance performed by radiographers;

(7)	case histories of radiography accidents;

(8)	the conditions of the license or registration issued by the agency.

History Note:	Authority G.S. 104E-7;

Eff. February 1, 1980;

Temporary Amendment Eff. August 20, 1994 for a period of 180 days or until the

permanent rule becomes effective, whichever is sooner;

Amended Eff. May 1, 1995;

Transferred and Recodified from 15A NCAC 11 .0519 Eff. February 1, 2015;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. June 22, 2019.