SECTION .0800 - REQUIREMENTS FOR NON-HUMAN USE OF RADIATION GENERATING DEVICES

10A NCAC 15 .0801	PURPOSE AND SCOPE

(a)  This Section provides special requirements for use of ionizing radiation generating devices (RGDs) operating above five thousand electron volts (5 keV), but below one million electron volts (1 MeV) that are in addition to requirements in the other sections of this Chapter.

(b)  This Section does not pertain to radiation safety requirements for x-ray equipment that is covered in other sections of this Chapter (e.g., x-rays in the healing arts in Section .0600 of this Chapter, and particle accelerators in Section .0900 of this Chapter).

History Note:	Authority G.S. 104E-7;

Eff. February 1, 1980;

Transferred and Recodified from 15A NCAC 11 .0801 Eff. February 1, 2015;

Amended Eff. October 1, 2015;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. June 22, 2019.