10A NCAC 15 .0806	PERSONNEL REQUIREMENTS

(a)  Personnel operating or maintaining RGDs shall comply with the following:

(1)	No person shall be permitted to operate or maintain RGDs unless the person has received instruction in the operating and emergency procedures for the RGD and instruction that is in accordance with Rule .1003 of this Chapter.

(2)	Each registrant operating or maintaining RGDs shall maintain, for inspection by the agency, records of training that demonstrate the requirements of this Rule have been satisfied.

(b)  The registrant shall provide ring or wrist personnel monitoring equipment to:

(1)	individuals using open-beam RGDs not equipped with a safety device; and

(2)	individuals maintaining RGDs if the maintenance procedures require the presence of a primary x-ray beam when any local component in the RGD is disassembled or removed.

History Note:	Authority G.S. 104E-7; 104E-11; 104E-12;

Eff. February 1, 1980;

Transferred and Recodified from 15A NCAC 11 .0806 Eff. February 1, 2015;

Amended Eff. October 1, 2015;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. June 22, 2019.