10A NCAC 42D .0244	CHEMISTRY DATA

Records of chemical analyses shall be kept by the laboratory in accordance with the EPA "Manual for Certification of Laboratories Analyzing Drinking Water", Chapter 4, Section 8, Records and Data Reporting, which is hereby incorporated by reference including any subsequent amendments and editions. A copy is available for inspection at the Division of Public Health, 1915 Mail Service Center, Raleigh, North Carolina 27699-1915. Nonprofit organizations or government agencies may obtain a copy by contacting the EPA Drinking Water Hotline at 800-426-4791. Other organizations may obtain a copy from the National Technical Information Service at 800-336-4700 for thirty five dollars ($35.00).

History Note:	Authority G.S. 130A-315;

Eff. December 1, 1991;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. December 23, 2017.