10A NCAC 70K .0310	CORRIDORS

(a)  Corridors shall be a minimum clear width of three feet.

(b)  Corridors shall be lighted with night lights providing one foot candle of light at the floor.

(c)  Corridors shall be free of all equipment and other obstructions.

History Note: 	Authority G.S. 131D-1; 143B-153;

Eff. October 1, 2008;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. April 5, 2016.