21 NCAC 14H .0302	Ventilation and Light

(a)  Ventilation shall be provided at all times in the clinic areas when patrons are serviced in all cosmetic art shops and there must be a continuous exchange of air.

(b)  Light shall be provided in the service area of a cosmetic art shop.

(c)  All cosmetic art shops must adhere to any federal, State and local government regulation or ordinance regarding fire safety codes, plumbing and electrical work.

History Note:	Authority G.S. 88B-2; 88B-4; 88B-14;

Eff. April 1, 2012;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. January 13, 2015;

Amended Eff. October 1, 2019; March 1, 2018.