21 NCAC 39 .1104	REQUIRED DOCUMENTS FOR EVALUATORS

Evaluators shall provide the owner with the following documents at the post-construction conference:

(1)	a signed and sealed copy of reports on soil conditions and site features, layouts, drawings, specifications, justification on any proposed design daily flow reductions, and any special inspection reports or corrections made during the construction of the system;

(2)	the owner's operation and management program established for the specific wastewater system installed;

(3)	any reports and findings related to the evaluation, siting, and construction of the wastewater system; and

(4)	information to the owner on procedures for final submittal to the local health department.

History Note:	Authority G.S. 90A-74; 130A-336.2;

Eff. June 1, 2021.