10A NCAC 13c .0702	REGULATIONS FOR PERFORMED SERVICES

Radiation protection shall be provided in accordance with the rules adopted by the Radiation Protection Commission found in 10A NCAC 15. Records shall be kept of annual checks and calibration of all ionizing radiation therapy equipment used in the facility.

History Note:	Authority G.S. 131E-149;

Eff. October 14, 1978;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. December 23, 2017;

Amended Eff. January 1, 2021.