10A NCAC 15 .0110	PROHIBITED USES

(a)  Hand-held fluoroscopic screens shall not be used.

(b)  Shoe-fitting fluoroscopic devices shall not be used.

(c)  Effective February 1, 1981, plastic pointed position indicating devices on intraoral dental systems shall not be used.

(d)  Effective February 1, 1983, mechanical timers on intraoral dental machines shall not be used.

(e)  Dental fluoroscopy without image intensification shall not be used.

(f)  Non-intensified photofluorographic equipment shall not be used.

History Note:	Authority G.S. 104E-7;

Eff. February 1, 1980;

Amended Eff. June 1, 1989;

Transferred and Recodified from 10 NCAC 3G .2211 Eff. January 4, 1990;

Transferred and Recodified from 15A NCAC 11 .0110 Eff. February 1, 2015.